Wyoming Department of Health

Aging Division - Healthcare Licensing and Surveys

Hathaway Building, 2300 Capitol Avenue, Suite 510, Cheyenne, WY  82002

Fax: (307) 777-7127    Phone: (307) 777-7123

E-mail: plans-ohls@wyo.gov    Website: https://health.wyo.gov/aging/hls/healthcare-facility-construction/

Checklist for Licensure Construction Survey

| Project Number: | 20 | Facility: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |
| Prepared by: |  |
| Applicable To Project | N/A to Project | Two Weeks Before the Project Survey Date, submit in writing to Healthcare Licensing and Surveys |
|  |  | Notification that the construction is complete and ready for final inspection. Healthcare Licensing and Surveys will schedule an inspection for the next available date. |
|  |  | Request for license application when the facility is new and/or there is a change of name, location, or number of beds. |
|  |  | Written facility fire emergency plans.[2006 NFPA 101:18.7] - (new facilities only) |
|  |  | Written facility smoking regulation. [2006 NFPA 101:18.7] - (new facilities only) |
| Building System Certifications and Tests |
|  |  | Medical gas. [2005 NFPA 99: Chapter 5] |
|  |  | Fire Sprinkler System. [2002 NFPA 13: Chapter 16] |
|  |  | Fire alarm system record of completion. [2002 NFPA 72: Section 4.5] |
|  |  | Electrical Systems: Grounding system testing. [2005 NFPA 99:4.3.3 and 4.3.4] |
|  |  | Electrical Systems: Receptacle testing. [2005 NFPA 99:4.3.3 and 4.3.4] |
|  |  | Electrical Systems: Final electrical approval from the electrical inspector having jurisdiction. [AHJ, NFPA 70] |
|  |  | Electrical Systems: Isolated electrical power line isolation monitor tests. [2005 NFPA 99:4.3.3 and 4.3.4] |
|  |  | Generator startup: On-site installation tests under the building’s primary power failure. [2005 NFPA 110: 7.13] - (New installations only) |
|  |  | Generator startup: Full load tests with load equal to 100 percent of nameplate rating. [2005 NFPA 110:7.13] - (New installations only) |
|  |  | Radiation protection. [Physicist’s report] |
|  |  | Fire retardant lumber. [2006 NFPA 101:10.2.6] |
|  |  | Drapery flame retardancy. [2006 NFPA 101:18.7.5] |
|  |  | Cubicle curtain flame retardancy. [2006 NFPA 101:18.7.5] |
|  |  | Vinyl wall covering flame spread rating. [2006 NFPA 101:10.2.3] |
|  |  | Paneling flame spread rating. [2006 NFPA 101:10.2.3] |
|  |  | Folding door flame spread rating. [2006 NFPA 101:10.2.3] |
|  |  | Carpet classification critical radiant flux. [2006 NFPA 101:10.2.7] |
|  |  | Sanitization of domestic water piping systems. [Contractor certification that piping was flushed with sanitizing solution.] |
|  |  | Ventilation Balance Report. |
|  |  | Final approval from local inspector(s) having jurisdiction. [AHJ, Insert Codes ] |
|  |  | Final approval from Board of Pharmacy inspector(s). |

# Text boxes

HLS/Cons-105

January 2022