

Checklist for Acceptance of Plans and Specification for Review

Wyoming Department of Health
Healthcare Licensing and Surveys
Hathaway Building, 2300 Capitol Avenue, Suite 510, Cheyenne, WY  82002
Fax: (307) 777-7127    Phone: (307) 777-7123
E-mail: plans-ohls@wyo.gov    Website: https://health.wyo.gov/aging/hls/healthcare-facility-construction/
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	Project Number: 20     

	Facility:      
	Prepared by:      
	Date:      



	[bookmark: _Hlk229470476]
· This is an all-inclusive list of plans and specifications required for a project.  It has been modified according to the scope of the proposed project.  Regardless of the project scope, however, a separate life safety plan for all existing and new life safety features may be required.
· This checklist only includes items required by this office.  It is your (or your representative’s) responsibility to verify other departments’ requirements.
· Submit all information electronically to plans-ohls@wyo.gov.  Do not send paper copies.
	Documents Submitted
and Acceptable
	Submit Document
	N/A to Project

	Filled out application for final plans examination.
	|_|
	|_|
	|_|

	Plans that have been prepared by an individual or firm practicing architecture, or engineering. Include the name and Wyoming license number of the responsible architect and engineer.
	|_|
	|_|
	|_|

	Architectural Drawings
	
	
	

	List of deferred submittals (as required by 2006 IBC: 106.3.4.2) that will be submitted to the Wyoming Department of Health for review and acceptance.
	|_|
	|_|
	|_|

	Site plan showing all new topography: newly-established levels and grades, existing structures on the site (if any), new buildings and structures, roadways, walks, and the extent of areas to be landscaped. All structures and improvements that are to be removed under the construction contract shall be shown.
	|_|
	|_|
	|_|

	Plan of each floor and roof.
	|_|
	|_|
	|_|

	Elevations of each facade.
	|_|
	|_|
	|_|

	Sections through the building.
	|_|
	|_|
	|_|

	Elevators and dumbwaiters. Drawing delineating shaft details and dimensions, sizes of cab platform and doors, travel distances including elevation of landings, pit sizes, and machine rooms.
	|_|
	|_|
	|_|

	Kitchen, laundry, laboratories, special care areas, and similar areas shall be detailed at a scale to show the location, type, size, and connection of all fixed and movable equipment.     
	|_|
	|_|
	|_|

	Scale details as necessary; scale details to one and one-half inches to the foot may be necessary to properly indicate portions of the work.
	|_|
	|_|
	|_|

	Schedule of finishes.
	|_|
	|_|
	|_|

	List of applicable building codes.
	|_|
	|_|
	|_|

	A separate life safety plan for each floor, including smoke compartmentation, exit signage, fire extinguishers, fire alarm devices, pull stations, sprinklered areas, fire barriers, and corridor protection reflecting NFPA 101, Life Safety Code.
	|_|
	|_|
	|_|

	Structural Drawings
	
	
	

	Plan of foundation, floors, roofs, and intermediate levels shall show a complete design with sizes, section, and the relative location of the various members, schedule of beams, girders, and columns.
	|_|
	|_|
	|_|

	Floor levels, column centers, and offsets shall be dimensioned.
	|_|
	|_|
	|_|

	Special openings and pipe sleeves shall be dimensioned or otherwise noted for easy reference.
	|_|
	|_|
	|_|

	Details of all special connection, assemblies, and expansion joints shall be given.
	|_|
	|_|
	|_|

	Notes on design data shall include the name of the governing building code, values of allowable unit stresses, assumed live loads, wind loads, earthquake load, and soil-bearing pressures.
	|_|
	|_|
	|_|

	For special structures, a stress sheet shall be incorporated in the drawings showing:
	
	
	

	Outline of structure.
	|_|
	|_|
	|_|

	All load assumptions used.
	|_|
	|_|
	|_|

	Stresses and bending moments separately for each kind of loading.
	|_|
	|_|
	|_|

	Maximum stress and/or bending moment for which each member is designed when not readily apparent from the mechanical drawings.
	|_|
	|_|
	|_|

	Horizontal and vertical reaction at column bases.
	|_|
	|_|
	|_|

	Mechanical Drawings – Heating, Cooling, and Ventilations Plans
	
	
	

	Radiators, coils, and steam-heated equipment, such as sterilizers, warmers, and steam tables.
	|_|
	|_|
	|_|

	Heating and steam mains, and branches with pipe sizes.
	|_|
	|_|
	|_|

	Diagram of heating and steam riser with pipe sizes.
	|_|
	|_|
	|_|

	Sizes, types, and heating surface of boilers, furnaces with stockers, and oil burners if any.
	|_|
	|_|
	|_|

	Pumps, tanks, boiler breeching and piping, and boiler room accessories.
	|_|
	|_|
	|_|

	Air conditioning systems with required equipment, water, refrigerant piping, and ducts.
	|_|
	|_|
	|_|

	Supply and exhaust ventilating systems with connection and piping.
	|_|
	|_|
	|_|

	Air quantities for all room supply and exhaust ventilating duct openings.
	|_|
	|_|
	|_|

	Mechanical Drawings – Plumbing, Drainage, and Stand Pipe Systems Plans
	
	
	

	Size and elevation of street sewer, house sewer, house drains, street water main, and water service into the building.
	|_|
	|_|
	|_|

	Location and size of soil, waste, and vent stacks with connection to house drain, clean outs, fixtures, and equipment.
	|_|
	|_|
	|_|

	Size and location of hot, cold, and circulating mains, branches, and risers for the service entrance, and fixture connections.
	|_|
	|_|
	|_|

	Gas, oxygen, and similar piped system.
	|_|
	|_|
	|_|

	Standpipe and sprinkler system.
	|_|
	|_|
	|_|

	All fixtures and equipment that require water and drain connections.
	|_|
	|_|
	|_|

	Electrical Drawings
	
	
	

	Electrical service entrance with switches and feeders to the public service feeders, characteristics for the light and power current, transformers and their connection if located in the building.
	|_|
	|_|
	|_|

	Location of main switchboard, power panels, light panels, and equipment. Feeder and conduit sizes shall be shown with schedule of feeder breaker or switches.
	|_|
	|_|
	|_|

	Light outlets, receptacles, switches, power outlets, and circuits.
	|_|
	|_|
	|_|

	Telephone layout showing service entrance, telephone switchboard, strip boxes, telephone outlets, branch conduits, and public telephones.
	|_|
	|_|
	|_|

	Nurse call systems with outlets for beds, duty stations, corridor signal lights, annunciators, and wiring diagrams.
	|_|
	|_|
	|_|

	Fire alarm system with stations, signal devices, control board, and wiring diagrams.
	|_|
	|_|
	|_|

	Emergency electrical system with outlets, transfer switch, source of supply, feeders, and circuits.
	|_|
	|_|
	|_|

	All other electrically operated systems and equipment.
	|_|
	|_|
	|_|

	Other
	
	
	

	     
	|_|
	|_|
	|_|

	     
	|_|
	|_|
	|_|
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