Wyoming Department of Health

Healthcare Licensing and Surveys

Hathaway Building, 2300 Capitol Avenue, Suite 510, Cheyenne, WY  82002

Fax: (307) 777-7127    Phone: (307) 777-7123

E-mail: plans-ohls@wyo.gov    Website: https://health.wyo.gov/aging/hls/healthcare-facility-construction/

# Checklist for Licensure Construction Survey

| Project Number: 20 |  |  |
| --- | --- | --- |
| Facility: | Prepared by: | Date: |

| To be submitted in writing to Healthcare Licensing and Surveys two Weeks Before the Project Survey Date. | Applicable To Project | Not Applicable to Project |
| --- | --- | --- |
| Notification that the construction is complete and ready for final inspection. Healthcare Licensing and Surveys will schedule an inspection for the next available date. |  |  |
| Request for license application when the facility is new and/or there is a change of name, location, or number of beds. |  |  |
| Written facility fire emergency plans. [2006 NFPA 101:18.7] - (new facilities only) |  |  |
| Written facility smoking regulation. [2006 NFPA 101:18.7] - (new facilities only) |  |  |
| ## Building Systems Certifications and Tests |  |  |
| Medical gas. [2005 NFPA 99: Chapter 5] |  |  |
| Fire Sprinkler System. [2002 NFPA 13: Chapter 16] |  |  |
| Fire alarm system record of completion. [2002 NFPA 72: Section 4.5] |  |  |
| Electrical Systems: Grounding system testing. [2005 NFPA 99:4.3.3 and 4.3.4] |  |  |
| Electrical Systems: Receptacle testing. [2005 NFPA 99:4.3.3 and 4.3.4] |  |  |
| Electrical Systems: Final electrical approval from the electrical inspector having jurisdiction. [AHJ, NFPA 70] |  |  |
| Electrical Systems: Isolated electrical power line isolation monitor tests. [2005 NFPA 99:4.3.3 and 4.3.4] |  |  |
| Generator startup: On-site installation tests under the building’s primary power failure. [2005 NFPA 110: 7.13] (New installations only) |  |  |
| Generator startup: Full load tests with load equal to 100 percent of nameplate rating. [2005 NFPA 110:7.13] (New installations only) |  |  |
| Radiation protection. [Physicist’s report] |  |  |
| Fire retardant lumber. [2006 NFPA 101:10.2.6] |  |  |
| Drapery flame retardancy. [2006 NFPA 101:18.7.5] |  |  |
| Cubicle curtain flame retardancy. [2006 NFPA 101:18.7.5] |  |  |
| Vinyl wall covering flame spread rating. [2006 NFPA 101:10.2.3] |  |  |
| Paneling flame spread rating. [2006 NFPA 101:10.2.3] |  |  |
| Folding door flame spread rating. [2006 NFPA 101:10.2.3] |  |  |
| Carpet classification critical radiant flux. [2006 NFPA 101:10.2.7] |  |  |
| Sanitization of domestic water piping systems. [Contractor certification that piping was flushed with sanitizing solution.] |  |  |
| Ventilation Balance Report. |  |  |
| Final approval from local inspector(s) having jurisdiction. [AHJ, Insert Codes ] |  |  |
| Final approval from Board of Pharmacy inspector(s). |  |  |

HLS/Con-105

August 2026